## Slide 1: Presented By: Aakriti Lamichhane Aditya Kushwaha
METHOD OF ESTIMATING THE CARRIER PHASE GENERATION ERROR BY GNSS SIMULATORS

## Slide 2: Introduction
The GNSS simulators are planned for the navigation of radio signal generation with the purpose of development, debugging and receiver’s calibration. Receiver’s calibration is important to pseudorange generation and affects pseudorange change rate. Pseudorange error is assessed by code pseudorange and carrier phase. The carrier phase generation error is estimated by direct calculation (has certain error value) or by the help of reference receiver(has uncertain error value). The phase measurement error is obtained by the sum of bias and random components. The absolute measurement error cannot be determined for GNSS simulators as the carrier frequency are not bounded to the time scale.
Notes: When conducting research, it is easy to go to one source: Wikipedia. However, you need to include a variety of sources in your research. Consider the following sources:
Who can I interview to get more information on the topic?
Is the topic current and will it be relevant to my audience?
What articles, blogs, and magazines may have something related to my topic?
Is there a YouTube video on the topic? If so, what is it about?
What images can I find related to the topic?

## Slide 3: Objectives
To estimate the carrier phase generation error
Notes: Once you find your sources, you will want to evaluate your sources using the following questions:
Author:
Who is the author?
Why should I believe what he or she has to say on the topic?
Is the author seen as an expert on the topic? How do you know?
Current:
How current is the information in the source?
When was the source published?
Is the information out-of-date?
Accuracy:
Is the content accurate?
Is the information presented objectively? Do they share the pros and cons?

## Slide 4: Methodology
Notes: After consulting a variety of sources, you will need to narrow your topic. For example, the topic of internet safety is huge, but you could narrow that topic to include internet safety in regards to social media apps that teenagers are using heavily. A topic like that is more specific and will be relevant to your peers. Some questions to think about to help you narrow your topic:
What topics of the research interest me the most?
What topics of the research will interest my audience the most?
What topics will the audience find more engaging? Shocking? Inspiring?

## Slide 5
iv.
iii.
ii.
i.
Expressions:

## Slide 6: Method Validation 1
Validation process is conducted to confirm the characteristics declared by the manufacturer.
Oscilloscope, GNSS simulator and frequency rubidium are used to carry out the validation process.
Oscillator receives the samples on the positive edge of simulator.
Jitter can reach 100 ps, which makes phase measurement very noisy.
To reduce the phase measurement noise, simulator and oscilloscope are synchronized.
Measurement time scale is tied to the reference signal simulator output.
Fig: Connection for measurement of phase scale

## Slide 7
Fig: navigation signal phase modulation compared to the pure sinusoidal signal
Fig: phase difference between the model and navigational signal

## Slide 8
Fig: phase difference on sections without phase modulation
Accurate phase difference
The measurements of GLONASS and GPS systems are taken and the result have confirmed the technical parameters stated by the manufacturer.

## Slide 9
Validation method 2
Measurement result of the offset carrier phase
Offset, ps | Measured value, ps
100 | 99.5
150 | 149.8
200 | 199.7
500 | 499.7
Result have confirmed the phase offset set by the manufacturer.

## Slide 10: Result
The method of estimating the carrier phase generation error helps to estimate the quality of carrier phase. Low phase noise features stability of time parameters and high signal quality. The proposed method allows estimating the in-phase and quadrature QPSK-signal components orthogonality.
Notes: Now, that you have narrowed your topic, you will want to organize your research in a structure that works. There are some common organizational patterns based on the kind of research you are doing.
Organizational Structures:
Cause and Effect- this kind of structure is great for explaining the causes and effects of a topic
Compare and Contrast- in this pattern you highlight the similarities and differences of the topic
Explain process- this structure is great for outlining a series of steps to follow;
Definition- if you want to make sure your audience understands what something is using illustrations, meanings, clarifying misconceptions, you may want to use this structure
Classification- a common organizational structure is grouping like topics or facts from the research together. For instance, in the internet safety about social media apps, you may organize the research where you look at each social media app one at a time

## Slide 11: Challenges
Notes: After you’ve done your research, it’s time to put your presentation together. The first step in the process is to introduce the topic. This is a great time to connect your topic to something that your audience can relate. In other words, why should they listen to all the information you will be sharing in your research presentation? What is in it for them? You may also want to include a graphic or image to grab their attention.
Feel free to duplicate this slide by right-clicking on this slide in the slides pane to the left and select Duplicate Slide.
The next step in your presentation is to state your claim or topic clearly. Your teacher may even call this your thesis. As you state your thesis, you may find that this layout is not the best layout for your claim or topic. You can change the layout by clicking the drop-down menu next to the Layout in the Slides menu section. You can choose Two Content, Comparison, or Picture with Caption. Note: A different layout might change the look of the icons on this page.
You will also want to state your facts. You have done the research now share some of the interesting facts with your audience. Facts do not have to be boring; you can communicate facts in a variety of ways by going to the Insert Tab. In the Insert tab you can:
Insert pictures from your computer or online.
Add a chart
Create some SmartArt
Insert a variety of icons to help your facts come to life. Note: You can change the color of the icons by selecting the icon and then click on the Format tab and then Graphics Fill. From there, you will choose a color from the list or choose More Fill Colors to give you more options.
Since this research presentation is a result of your hard work and searching, you want to make sure you support the claims or points in your presentation with facts from your research findings. Make sure you give the author proper credit for helping you share your ideas. If one of your sources has a video that is relevant to your topic, you can add the video as added support. Keep in mind the length of the video and the amount of time you have for your presentation. For a 5 minute speech, the video should be no longer than 30 seconds.
Questions to consider:
How will you state the author of the source?
Will you need to cite the source on the slide?
What are some ways you can engage your audience so they feel like they are a part of the presentation? Some ideas to consider is by taking a quick poll like: by a show of hands, how many of you think school uniforms are a way to cut down on bullying? Another suggestion is to have them hold up a certain number of fingers to see if they agree or disagree. Finally, you can share a story that the audience can relate to that makes them laugh.
After all the applause, your audience may have some questions. Be prepared to answer some of their questions by making a list of questions you think they might ask. You may also want to share the presentation with them by providing the link to your presentation, if they want more information.

## Slide 12: Future Research Improvements

## Slide 13: Thank you
Notes: You can use this slide as your opening or closing slide. Should you choose to use it as a closing, make sure you review the main points of your presentation. One creative way to do that is by adding animations to the various graphics on a slide. This slide has 4 different graphics, and, when you view the slideshow, you will see that you can click to reveal the next graphic. Similarly, as you review the main topics in your presentation, you may want each point to show up when you are addressing that topic.
Add animation to images and graphics:
Select your image or graphic.
Click on the Animations tab.
Choose from the options. The animation for this slide is “Split”. The drop-down menu in the Animation section gives even more animations you can use.
If you have multiple graphics or images, you will see a number appear next to it that notes the order of the animations.
Note: You will want to choose the animations carefully. You do not want to make your audience dizzy from your presentation.